## README
Field | Value
Dataset | Full pipeline outputs -- regime detection, ablation study, SHAP, conformal prediction
Source | Derived from Raw_Simulated_Data_v2.xlsx (Combined_Observed sheet)
Refrigerant | R-454B (converted from the v1 R-410A run via matched-saturation-temperature pressure remapping; see Raw_Simulated_Data_v2.xlsx README for method). relative_humidity_pct added as a new synthetic sensor channel.
Status | SIMULATED -- pipeline/methodology development only, per proposal Section 1.6. Not field-measured data; all final performance claims will use real lab/field data.
Pipeline stages | 1) Data prep + feature engineering, 2) HDBSCAN regime detection (benchmarked vs k-means/GMM), 3) Ablation study (sensors -> +regime -> +physics features -> physics-informed graph attention model), 4) SHAP explainability per regime, 5) Split conformal prediction per regime
Target variable | measured_cop: air-side heat-balance proxy COP computed from airflow, supply/return air temperature and total electrical power (Section 3.5)
Important note | Ground-truth columns from Truth_Reference_DO_NOT_USE were used only to validate clustering/regime recovery, never as a model input feature.

## Regime_Clustering_Metrics
Unnamed: 0 | silhouette | davies_bouldin | calinski_harabasz | n_clusters | noise_fraction | ARI_vs_truth | NMI_vs_truth
HDBSCAN | 0.65597 | 0.45188 | 12263.0598 | 2 | 0 | 1 | 1
KMeans | 0.65597 | 0.45188 | 12263.0598 | 2 | 0 | 1 | 1
GMM | 0.65597 | 0.45188 | 12263.0598 | 2 | 0 | 1 | 1

## Regime_vs_Truth_Crosstab
hdbscan_cluster | defrost | steady_state_heating
0 | 5988 | 0
1 | 0 | 36810

## Ablation_Study
stage | model | split | RMSE | MAE | R2
1_sensors_only | LinearRegression | train | 0.040408 | 0.025267 | 0.99217
1_sensors_only | LinearRegression | val | 0.062471 | 0.038924 | 0.98704
1_sensors_only | LinearRegression | test | 0.063202 | 0.043324 | 0.9868
1_sensors_only | RandomForest | train | 0.010711 | 0.0075938 | 0.99945
1_sensors_only | RandomForest | val | 0.064942 | 0.020972 | 0.986
1_sensors_only | RandomForest | test | 0.041828 | 0.019082 | 0.99422
1_sensors_only | XGBoost | train | 0.0059136 | 0.0040959 | 0.99983
1_sensors_only | XGBoost | val | 0.055902 | 0.014534 | 0.98962
1_sensors_only | XGBoost | test | 0.035254 | 0.013255 | 0.99589
2_plus_regime | LinearRegression | train | 0.039745 | 0.024948 | 0.99242
2_plus_regime | LinearRegression | val | 0.05965 | 0.037766 | 0.98819
2_plus_regime | LinearRegression | test | 0.060537 | 0.041898 | 0.98789
2_plus_regime | RandomForest | train | 0.010703 | 0.0075931 | 0.99945
2_plus_regime | RandomForest | val | 0.064264 | 0.020919 | 0.98629
2_plus_regime | RandomForest | test | 0.041578 | 0.019084 | 0.99429
2_plus_regime | XGBoost | train | 0.0057284 | 0.0039734 | 0.99984
2_plus_regime | XGBoost | val | 0.042914 | 0.012785 | 0.99389
2_plus_regime | XGBoost | test | 0.028249 | 0.012259 | 0.99736
3_plus_physics_features | LinearRegression | train | 0.037091 | 0.020249 | 0.9934
3_plus_physics_features | LinearRegression | val | 0.051087 | 0.031343 | 0.99133
3_plus_physics_features | LinearRegression | test | 0.051902 | 0.035145 | 0.9911
3_plus_physics_features | RandomForest | train | 0.010674 | 0.0075834 | 0.99945
3_plus_physics_features | RandomForest | val | 0.061775 | 0.020699 | 0.98733
3_plus_physics_features | RandomForest | test | 0.04073 | 0.01908 | 0.99452
3_plus_physics_features | XGBoost | train | 0.0061138 | 0.0042933 | 0.99982
3_plus_physics_features | XGBoost | val | 0.040878 | 0.012997 | 0.99445
3_plus_physics_features | XGBoost | test | 0.026519 | 0.012494 | 0.99768
4_physics_graph_model | GraphAttentionCOP | train | 0.0065834 | 0.0043422 | 0.99979
4_physics_graph_model | GraphAttentionCOP | val | 0.013645 | 0.0068405 | 0.99938
4_physics_graph_model | GraphAttentionCOP | test | 0.012752 | 0.0080488 | 0.99946

## SHAP_Global_Importance
feature | mean_abs_shap_value
hdbscan_cluster | 0.22776
electrical_power_w | 0.1899
supply_air_temp_c | 0.11161
return_air_temp_c | 0.064391
supplemental_heat_power_w | 0.044278
pressure_ratio | 0.011685
airflow_cfm | 0.0099503
suction_pressure_psig | 0.0087477
compressor_frequency_hz | 0.0052993
high_side_pressure_psig | 0.0026471
liquid_line_temp_c | 0.0020555
suction_superheat_proxy_c | 0.0019234
outdoor_temp_c | 0.0016738
liquid_subcool_proxy_c | 0.001594
suction_line_temp_c | 0.0014837
eev_position_pct | 0.00049011
top_of_outdoor_unit_temp_c | 0.00040244
relative_humidity_pct | 0.00036386

## SHAP_Per_Regime
hdbscan_cluster | true_regime | feature | mean_abs_shap_value | n_rows
0 | defrost | hdbscan_cluster | 0.83446 | 961
0 | defrost | supply_air_temp_c | 0.32341 | 961
0 | defrost | electrical_power_w | 0.20922 | 961
0 | defrost | supplemental_heat_power_w | 0.15576 | 961
0 | defrost | return_air_temp_c | 0.031494 | 961
0 | defrost | airflow_cfm | 0.012865 | 961
0 | defrost | pressure_ratio | 0.0068637 | 961
0 | defrost | compressor_frequency_hz | 0.0038116 | 961
0 | defrost | liquid_line_temp_c | 0.0029761 | 961
0 | defrost | suction_superheat_proxy_c | 0.0023158 | 961
0 | defrost | liquid_subcool_proxy_c | 0.0022297 | 961
0 | defrost | suction_pressure_psig | 0.001438 | 961
0 | defrost | suction_line_temp_c | 0.00087194 | 961
0 | defrost | high_side_pressure_psig | 0.00067137 | 961
0 | defrost | top_of_outdoor_unit_temp_c | 0.00063892 | 961
0 | defrost | outdoor_temp_c | 0.00057388 | 961
0 | defrost | eev_position_pct | 0.00054357 | 961
0 | defrost | relative_humidity_pct | 0.0002585 | 961
1 | steady_state_heating | electrical_power_w | 0.18649 | 5459
1 | steady_state_heating | hdbscan_cluster | 0.12096 | 5459
1 | steady_state_heating | supply_air_temp_c | 0.074322 | 5459
1 | steady_state_heating | return_air_temp_c | 0.070182 | 5459
1 | steady_state_heating | supplemental_heat_power_w | 0.024652 | 5459
1 | steady_state_heating | pressure_ratio | 0.012534 | 5459
1 | steady_state_heating | suction_pressure_psig | 0.010035 | 5459
1 | steady_state_heating | airflow_cfm | 0.0094371 | 5459
1 | steady_state_heating | compressor_frequency_hz | 0.0055612 | 5459
1 | steady_state_heating | high_side_pressure_psig | 0.0029949 | 5459
1 | steady_state_heating | liquid_line_temp_c | 0.0018934 | 5459
1 | steady_state_heating | outdoor_temp_c | 0.0018674 | 5459
1 | steady_state_heating | suction_superheat_proxy_c | 0.0018544 | 5459
1 | steady_state_heating | suction_line_temp_c | 0.0015915 | 5459
1 | steady_state_heating | liquid_subcool_proxy_c | 0.0014821 | 5459
1 | steady_state_heating | eev_position_pct | 0.0004807 | 5459
1 | steady_state_heating | relative_humidity_pct | 0.00038241 | 5459
1 | steady_state_heating | top_of_outdoor_unit_temp_c | 0.00036081 | 5459

## Conformal_Per_Regime
hdbscan_cluster | true_regime | n_test | target_coverage | empirical_coverage | mean_interval_width
0 | defrost | 961 | 0.9 | 0.90947 | 0.00068355
1 | steady_state_heating | 5459 | 0.9 | 0.86206 | 0.046726

## Conformal_Overall
target_coverage | empirical_coverage | mean_interval_width | n_test
0.9 | 0.86916 | 0.039834 | 6420